**Fundamentals and applications of phase changing materials in food industry**

**H.K. Rohit\*, Ankit Kumar Deshmukh, P.S. Minz, Chitranayak, Mukul Sain, Arijit Ray**

Dairy Engineering Division, ICAR – National Dairy Research Institute, Karnal, Haryana, India

E-mail\*: rohithitesh005@gmail.com

1. **Introduction**

Refrigeration and air conditioning systems are extensive energy-utilizing systems because of their widespread usage and ongoing operation. Increasing the refrigeration system's energy efficiency is thus a critical matter relating to energy conservation and better performance. The majority of innovations used to enhance the performance of refrigeration systems fall into four major groups i.e. improvement of thermal insulation, creation of power saving compressors, and advancement of heat transmission in heat exchangers (evaporator and condenser), and development of different multi-stage refrigeration cycles. In refrigeration system, heat transfer process can be accelerated of heat exchangers by utilizing phase change materials (PCM) and micro-fins in the condenser and evaporator (Khan and Afroz, 2013).

Phase Change Materials (PCMs) are substances that possess the capacity to alter their state, typically from a solid to a liquid, or the opposite, at a specific temperature range (Sain *et al.,* 2019a). This phase change is accompanied by a significant amount of energy absorption or release, known as latent heat, without a large temperature change (Feng *et al*., 2020). PCMs have been studied and utilized extensively due to their energy storage and temperature regulation capabilities (Sain *et al.,* 2019b). A potential solution based on the latent heat thermal energy storage (LHTES) principle is thermal energy storage with PCM (Oro et al, 2012). Using PCM as LHTES will be an innovative option for performance enhancement by improving evaporator heat transfer and lowering compressor efficiency losses. The most important requirements in subzero temperature cooling applications for PCM are a sufficient temperature for the phase transition and more fusion heat (Rahman *et al*., 2014).

PCMs are classified based on their phase change temperatures and can include organic compounds (paraffins and non-paraffins), inorganic materials (metals, salt hydrates), and eutectics (Jaglan *et al.,* 2018; Sain *et al.,* 2019a). Each type of PCM has special characteristics, like melting point, heat storage density, thermal conductivity, and cost, which determine their suitability for different applications. Despite the promising potential of PCMs in the food industry, challenges such as material compatibility, encapsulation, and thermal cycling stability must be addressed. Additionally, the selection of the appropriate PCM is crucial and must consider factors such as the desired operating temperature, PCM thermal properties, cost, and environmental impact. With ongoing research and development, the use of PCMs in the food industry is anticipated to grow, contributing to energy efficiency, food quality, and safety (Sain, 2019).

**2.0 Phase Change Materials (PCM)**

In order to store latent heat, phase change materials (PCM) are used. Lane (1983) asserts that latent heat storage was coined by Telkes in the 1940s and it’s a recent field of study. The chemical bonds within the phase change material break up when the source temperature is raised and result in the phase change from solid to liquid.

Because the PCM absorbs thermal energy, the phase change is an endothermic process. At the phase change temperature, the material starts to melt, and the temperature remains constant throughout the process. Latent heat is the quantity of heat that a substance absorbs when melting.

It is possible within a small temperature change a large amount of heat is stored and therefore it has a high storage density. The phase change process occurs at a constant temperature so that the temperature will be changed at a smooth rate. When compared to sensible storage materials, latent storage materials like water, masonry, or rock have a stored heat per unit volume that is 5 to 14 times greater (Heine and Abhat,1978).

**Phase Change Material**

**Paraffin Compounds**

**Non-Paraffin Compounds**

**Salt Hydrate**

**Metallic**

**Organic**

**Inorganic**

**Eutectic**

**Inorganic-Organic**

**Inorganic-Inorganic**

**Organic-Organic**

**Fig. 1: Classification of PCM**

**3.0 Requirements of a suitable PCM**

**3.1Physical and thermal requirements of PCM according to the storage and release of heat:**

1) The temperature needs to be appropriate.

2) Significant phase transition enthalpy.

3) Stability of repeatable phase change during cycling.

4) High thermal conductivity and low supercooling

**3.2Technical requirements according to the construction of storage:**

1) Vapor pressure should be low

2) Small volume modification

3) Chemical resistance of PCM

4) The PCM's compatibility with other materials

5) Safety restrictions

**3.3 Economic requirements:**

1. Low price 2) Excellent cycling stability

**4.0 The working mechanism of phase change material (PCM) in a refrigeration system**

In a traditional refrigerator or refrigeration system, the compressor operates in an on/off mode. During the compressor off state, heat is removed from the food and the temperature of the evaporator cabinet is increased. When the compressor is running, heat from the cabinet is absorbed by the refrigerant while circulating through the evaporator coil. If PCM is used inside the cabinet, it will absorb most of the heat by switching from a solid to a liquid phase. Until the melting of all PCM is not complete, the temperature will not change. Because of this, the product will be heated to the required level while the compressor is off, allowing the material to properly transition into its next phase.

Due to the latent heat of ice crystal ice is used as an efficient heat carrier. Ice slurry is an excellent option as a coolant in the conventional refrigeration system because it has a low operating temperature and high heat transportation capacity. Nowadays, due to the regulation of synthetic refrigerant use and also for thermal energy storage indirect cooling systems are more beneficial.

The rate at which the cooling mediums may absorb heat from the milk determines how quickly the milk will cool. When hot milk is kept in a room where the temperature of air is at its freezing point, it will take around 12 hours for the milk to cool to 10°C since the air absorbs heat very slowly. As opposed to that, the cooling rate of water is higher 20 times compared to air. According to Davies (2005), the sensible heat of water to raise its temperature from 0°C to 80°C is equal to the latent heat of fusion for 454 g of ice. For increasing the cooling rate the volume of surrounding ice must be high and a lower temperature will be required. These methods of ice slurry are interesting and have been employed successfully in much milk cooling system by Sharma *et al*., (2014).

In developing nations like India, no technique is currently used at the farm level for milk cooling; the reason is that for the refrigeration process, the compressor is used which requires a higher amount of energy and initial investment. Therefore, a suitable material must be used which is widely accessible and inexpensive. Since water is one of the phase-changing materials (PCMs) with desirable properties, several researchers previously stated they used cold water and ice as a cooling medium in their patented designs.

**5.0 Application of PCM at the Evaporator**

In vapor compression refrigeration systems (VCRS), the purpose of PCM is the improvement of system performance with less fluctuating temperature. Therefore, even a small increase in performance from these appliances results in significant energy savings. The majority of the innovative concepts used to enhance the performance of refrigeration systems fall into three broad groups: enhancement of thermal insulation, development of power saving compressors, and improvement of the heat transfer process from heat exchangers, i.e., evaporator and condenser (Cheng *et al.,* 2011), because PCM has a high latent heat, applying it to a refrigerator's evaporator could lengthen the compressor's OFF time period. This gives refrigerators two more essential options: to run during off-peak hours and to maintain temperature of the compartment even during prolonged power outages.

Because of the use of energy storage by PCM at the evaporator, the on-time period of the compressor is decreased. As a result, the benefits include reduced total energy consumption, high-quality food, and a reduction in the negative impacts of frequent compressors ON/OFF. In the event of a power outage, phase change materials may be necessary since they have an impact on both air and product temperatures and their rate of increment (Gin and Farid, 2010). Furthermore, the presence of PCM can help maintain a more stable temperature in the compartment (Osterman *et al*., 2012).

Direct application of PCM to a naturally cooled evaporator is preferable since it will improve heat transfer from the evaporator and enable the system's excess cooling capacity to be stored in the PCM (Visek *et al*., 2014). Because phase change materials carry heat more quickly than natural air convection, quicker heat transfer is observed where evaporator coils are submerged in these PCMs. The impact of each parameter, such as PCM thickness, phase change temperature, orientation, and shape, as well as the impact of thermal load, is covered independently in the sections that follow.

**5.1 Phase changi**n**g temperature**

The proper selection of phase change temperatures is crucial in cooling systems since it influences not only the system's functionality but also the consistency of the food material. Food preservation is the main goal of residential refrigeration systems; furthermore, changes in temperature in phase must be appropriate for this main purpose. Remember that phase change temperature is a most crucial factor for the effective utilization of phase change material and the melting point has to fall within the operating range of temperature of the thermostat if added within the compartment.

It was discovered that the vapor compressor refrigeration system's (VCRS) heat transfer improvement was greater when PCM was applied around evaporator coils if its melting point was higher than the set temperature of the compartment (Chen *et al*., 2020). This is because a higher phase change evaporation temperature results in a lower compressor on/off frequency and a higher system COP. Otherwise, the phase change material does not work efficiently since the phase change temperature is low which limits to completion take part in the phase transition process. Due to its low phase change temperature, which restricts its ability to fully participate in the phase transition process and PCM does not function well.

The supercooling effect is the most important consideration for determining the ideal phase transition temperature (Akeiber *et al*., 2016). Because supercooling has the dual effect of lengthening the phase-change period and reducing the temperature differential between the phase-change material and the evaporator, it reduces system efficiency (Wang *et al*., 2002). Hence, it slows down the heat transfer rate and prolongs the time the compressor is turned on, both of which raise energy consumption. The supercooling effect may be inhibited by the incorporation of nucleating chemicals (Sharma *et al*., 2009).

The proper phase change temperature and suitable thermo physical characteristics determine which PCM should be used. Water has unique characteristics for consideration because of its huge amount of latent heat value, easy availability, and sharp phase change temperature (Marques *et al*., 2014). For subzero temperature applications, it is not used because of its higher freezing point. Therefore water-salt eutectic solution is normally used because of the desirable melting point and high latent heat (Li *et al*., 2013).

**5.2 Volume of PCM**

According to Onyejekwe in 1989, the minimal volume of phase change material needed for energy storage equation can be calculate using the following equation:

$$Q=ρVh$$

Where, Q is the total stored energy in PCM, h and ρ are the latent heat and density of vaporization of PCM and V is the volume of phase change material.

The following equation can be used to estimate the total amount of energy held in phase transition material,

$$Q=K×S\left(T\_{amb}-T\_{cold}\right)t$$

Where Tamb is the ambient temperature and Tcold is the cool compartment temperature; K is the coefficient of exchange; S is the surface fusion; t is operating time of PCM (compressor off time). As a result, the formulae above can be used to calculate the volume of PCM needed for a system.

The effectiveness of a heat exchange system is influenced by geometrical factors, factors that can affect thermal resistance and storage temperature. To balance heat gain through the walls during the compressor's OFF time, the volume of PCM should be greater than the volume calculated from the calculation. If PCM thickness is greater than necessary, not all of the thickness will have the opportunity to undergo phase change (Azzouz *et al*., 2009). As a result, the effectiveness of the phase change material is reduced. The thickness of PCM should be designed for the thermal load because thicker PCM is more expensive and needs longer compressor duration for cold storage.

**5.3 Evaporation temperature**

Integration of phase change materials on evaporation temperature have corresponding effects. During phase change, a PCM's increased latent heat gives it a large thermal capacity and a correspondingly high evaporation temperature (Castell *et al*., 2009). Additionally, compared to a cooling system without a PCM, a higher evaporation temperature results in a larger evaporation pressure (Khan and Afroz, 2013) which results in higher COP. PCM freezing time must be extended at lower evaporation temperatures (Waqas and Din, 2013).

**5.4 Power outage**

In developing countries like India, the performance of refrigeration systems is highly affected due to the power shortage problem (Hua *et al*., 2021). Because of the rapid heat accumulation from the walls during a power loss, a traditional refrigeration system's compartment does not stay cold for very long. It will have an impact on the compressor's durability, food quality, and energy consumption. Phase change materials can store energy when the system is running and release it in the event of a power outage, which can be used to solve the problem. After two weeks of continuous power outages, it was noticed that PCM maintained the quality of frozen meat and ice cream against drip loss and ice recrystallization, respectively, with encouraging results (Krishna *et al*., 2017).

In the event of blackouts, PCMs can serve as a backup in an emergency in this way. The thickness, thermal load, and thermo physical characteristics of the system play a major role in determining how long a phase change material can maintain a compartment's frigid temperature. It is believed that during power outages, only cold storage in PCMs on the evaporator side is useful.

**6.0 Analysis of PCM at Evaporator**

The use of PCM lengthens the compressor’s OFF period and boosts system COP. The enhancement of COP can be obtained to 2-74% with the integration of PCM on the evaporator side. The PCM type, thermal load, and ambient temperature all have an important effect on the percentage enhancement of COP.

PCM at the evaporator has an exciting potential because using cold storage helps the refrigeration system. Additionally, it was found that the evaporator's PCM raises the evaporation temperature, which in turn raises the compressor's input temperature. As a result, the temperature at the condenser side rises and the system's ability to improve performance at the evaporator side of the system is restricted. However, evaporation temperature has a greater impact on compressor efficiency (Behi *et al*., 2017). PCM is a viable solution for the refrigeration cycle since it is less expensive than changing the insulation or compressor, which is needed for improving the refrigeration system. Furthermore, it is also applicable to the existing refrigeration system. PCM was used as a backup in case of power outages in addition to improving the system's performance.

**7.0 Advantages of PCM**

**Table 1: Advantages of phase change material (PCM)**

|  |  |  |
| --- | --- | --- |
| **Advantage** | **Details** | **Reference** |
| More controlled temp at the compressor inlet | minimize compressor workloadUniform distribution of temperature | Wang *et al*., 2007 |
| more stable under changing thermal loads | more efficient system operationLower sensitivity to changes in the surrounding temperature | Khan *et al*., 2013 |
| Refrigerant density is higher at the compressor inlet | Higher capacity of refrigeration | Rahman *et al*., 2014 |
| Help in the event of a power outage | serving as a fallback positionkept food cold for longer while there was no power supply | Oró *et al*., 2012 |
| Higher COP | improved cooling capacity of the system | Khan *et al*., 2013 |
| Slower storage temperature changes | Better food quality | Visek et al., 2014 |

**8.0 Eutectic salt-water solutions as PCM**

**A solution is said to be a eutectic solution if one or more solutes and one or more solvents are mixed in a way that results in the mixture's lowest freezing point. The eutectic point refers to the lowest possible freezing temperature (Hussain *et al*., 2017).** Recently, there has been an upsurge in energy demand. The need to create new energy sources using renewable energy sources is quite high due to the limited availability of nonrenewable energy sources. A novel method for storing energy that can subsequently be retrieved, known as thermal energy storage (TES), may prove to be effective (Mehling and Cabeza, 2008). In TES, the PCM's latent heat provides a renewable energy source.

In terms of volume, PCM offers a high energy storage density therefore it has more potential efficiency for heat and cold storage; Additionally phase change materials enable isothermal operation at a particular temperature (Ge *et al*., 2013). Utilization of PCM in cooling applications, such as the preservation of products that require a certain temperature, such as beverages, food, pharmaceuticals, blood derivatives, air-conditioning, and many more has proved very beneficial (Pichandi *et al*., 2020). For cold storage, salt-water eutectic mixes are utilized instead of alkane mixtures because they are more readily available and less expensive. Water, aqueous solutions of organic salts, ice, eutectic mixes and salt combinations are further options (Yilmaz *et al*., 2010). PCM, which melts at temperatures below 0 °C, is used to create eutectic salt-water solutions. These solutions are often inexpensive and have good storage density. For the subzero cooling application, the phase change temperature range for PCM should be between -24 °C and -10 °C. The eutectic mixture of 22.4% NaCl-H2O revealed a melting point at -21.2 °C, according to Gawron and Schöder (1977).

Figures 3 and 4 depict the heating-cooling tests of KCl-H2O and NaCl-H2O solutions. The sub-cooling effect can be detected in both Figures 3 and 4. For every cycle of all solutions, the sub-cooling and melting temperature ranges are consistent. This is a solid indicator that similar solutions might be applied to different cooling applications. The results for the NaCl and KCl solutions' freezing point depression, corresponding degree of sub-cooling, and freezing-melting temperature range, determined from the heating-cooling curves, are shown in Table 2. Freezing point depression (FPD) is the process of lowering a solvent's freezing point when another component is mixed thus a solution's freezing point is lower than that of a pure solvent, such as water.

Due to the thermal conductivity of these liquids being comparable to water and their ability to sub-cool like water by several degrees centigrade or more, sub-cooling of eutectic salt-water solutions is a prevalent issue. Many PCMs do not instantly crystallize when cooled below the melting point; instead, crystallization begins after a temperature much below the melting point is achieved. This phenomenon is known as sub-cooling. Although sub-cooling does not significantly affect heat storage, it does stop latent heat from being released when the melting temperature is reached during heat extraction.

Latent heat is the amount of energy that is absorbed or released during the freezing or thawing process. It has been found that latent heat is more closely related to the amount of water involved in the phase transition process than to the actual amount of water present. To prevent sub-cooling, it is necessary to drop the temperature substantially below the phase transition temperature. Nucleation must happen to start solidification. However, if no nucleation happens, no latent heat is produced, and the material simply retains sensible heat. In light of this, sub-cooling might be a significant issue for technological applications. Although sub-cooling has a melting-freezing point lower than 0 °C, it can be viewed as a drawback compared to these alternatives. To create the proper eutectic behavior of specific salt slurry for a particular milk cold chain application, it is necessary to ascertain the freezing characteristics of ice and salt slurries and to track their ability to store cooling at various concentrations in relation to temperature. (Yilmaz *et al*., 2010).

**Table 2: Freezing Point Depression of eutectic salt-water solutions**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Solutions** | **Subcooling****[ºC]** | **Freezing****temperature [ºC]** | **Melting****temperature [ºC]** | **(Freezing point****depression)** |
| 5% NaCl | 3.87 | -3.87/-4.27 | -4.8/-3.18 | 3.04 |
| 10% NaCl | 6.28 | -7.60/-7.70 | -7.80/6.10 | 6.56 |
| 15% NaCl | 5.30 | -15.19/-15.29 | -10.40/-9.20 | 10.88 |
| 20% NaCl | 2.79 | -18.22/-17.92 | -18.92/-14.62 | 16.45 |
| 21% NaCl | 2.20 | -18.46/-18.26 | -18.86/-14.62 | 17.77 |
| 22% NaCl | 1.60 | -21.95/-21.39 | -20.15/-19.65 | 19.17 |
| 23% NaCl | 0.20 | -20.89/-21.85 | -22.15/-19.65 | 20.66 |
| 24% NaCl | 0.30 | -20.19/-19.9 | -3.28/-2.08 | - |
| 5% KCl | 1.59 | -3.38/-3.58 | -11.79/-6.00 | 2.32 |
| 10% KCl | 7.48 | -6.60/-7.10 | -11.40/-9.60 | 4.80 |
| 15% KCl | 4.40 | -12.80/-13.20 | -10.23/-9.43 | - |
| 20% KCl | 5.59 | -12.93/-13.13 | -10.15/-9.15 | - |
| 21% KCl | 4.80 | -10.35/-10.65 | -10.15/-9.65 | - |
| 22% KCl | 6.90 | -10.45/-11.25 | -10.95/-9.15 | - |
| 23% KCl | 7.48 | -12.12/-12.82 | -12.32/-9.83 | - |
| 24% KCl | 5.10 | -10.80/-11.10 | -11.10/-9.10 | - |

According to Granryd and Melinder (2005), when ice crystals start to form and mix with the liquid, the aqueous solutions typically do not consolidate to ice. When the mixture's temperature reaches the eutectic point, total freezing begins. For every 1% increase in CaCl2 concentration, the heat transfer value typically decreases by roughly 2.5%. This occurs as a result of the eutectic solution's specific heat value decreasing as salt concentrations rise. According to one theory, brines made of calcium chloride or potassium carbonate have good thermo physical characteristics, are cheap and non-toxic, and effectively lower freezing points (the freezing point is lowered to -55 °C by 29.9% w/w CaCl2). Nevertheless, corrosion occurs at temperatures below 0 °C is a drawback of using their application to cooling systems (Feng *et al*., 2020).

**9.0 Applications of PCM in food Industry**

**PCM applications in food industry**

Air conditioning

Peak Load Shifting

Food Packaging

Cold Storage and Transportation

Dairy Processing

Retail Display Cases

Vending Machines

Backup Cooling Systems

Seafood Freshness

Controlled Thawing

**Fig 2: Applications of PCM in food industry**

There has been a lot of attention in recent years in the amazing ability of Phase Change Materials (PCMs) to store and release thermal energy during phase changes, such as from solid to liquid or vice versa. These materials have the potential to revolutionize industries, particularly those where maintaining and controlling temperature is essential. Due to its innate requirement for efficient temperature control for reasons of safety, quality, and shelf life, the food industry stands out among these sectors as a prominent benefit of PCMs.

**Cold Storage and Transportation**: The domain of cold storage and transportation is one of the food industry's most basic applications of PCMs. Foods, particularly perishables like fruits, vegetables, meat, and dairy; require a certain temperature to be stored properly (Oro *et al*., 2012). It is critical to maintain these temperatures throughout the transportation process to prevent food deterioration or quality degradation when the food is delivered to its final location. Cooling systems used in conventional refrigerated vehicles and containers consume a lot of electricity. Particularly during transit times when opening doors or during brief power outages, adding PCMs to these containers may provide more constant temperature management (Zhang *et al*., 2016). The appropriate PCM selection can lower energy usage while preserving food product quality for longer periods. Many catering applications need the transportation of prepared meals or frozen goods that are manufactured in one location. PCM containers might also be used to transport milk derivatives, precooked meals, ice cream and many other items without tampering with the cold chain.

**Food packaging for temperature-sensitive food:** The food sector has changed as a result of the development of online shopping. Nowadays, a lot of shoppers choose to get their groceries—including perishable items—online. To ensure that the food maintains a safe temperature during its journey from the warehouse to the consumer's doorstep, this shift calls for inventive packaging solutions (Nazir *et al*., 2019). When used in insulated packaging, PCMs can maintain the desired temperature for longer periods, maintaining the freshness and safety of frozen and chilled items (Singh *et al*., 2018).

**Retail Display Cases:** Display cases serve as more than just a product showcase for retailers; they play a major role in maintaining the quality of products. PCMs can be a game-changer, particularly in areas where the ambient temperature can alter or in situations where power interruptions are frequent. To keep products within the correct temperature range, lengthen shelf life, and guarantee quality even during unplanned disruptions, they can be incorporated into the design of display cases.

**Backup Cooling Systems:** Even a brief power outage can cause huge monetary losses for important storage facilities, such as those that contain large supplies of vaccinations or specialty food products. Until power is restored or alternative measures are taken, PCMs can be a reliable backup, providing cooling.

**Thermal Cookers:** Modern kitchen appliances integrate PCMs to guarantee that food stays hot or cold for extended periods without a continual power or heat supply. For example, thermal cookers can control temperature using PCMs, making them perfect for scenarios like picnics or places with unstable power supplies.

**Controlled Thawing:** To maintain the quality and safety of frozen products, careful thawing is required. Quick or uneven thawing might compromise the food's texture, flavor, and safety. A consistent and secure defrosting process can be offered by a regulated defrosting environment made possible by PCMs (Xu *et al*., 2015).

**Seafood Freshness:** Seafood has a very high sensitivity to temperature changes. Incorporated PCMs in seafood packaging help maintain cooler temperatures, preserve freshness, and avoid decomposition. As a result, fishermen and seafood vendors may have a longer selling window and experience less waste.

**Warehouse and Cold Storage Facilities:** Even slight temperature changes in big storage facilities can cause huge losses from food spoiling. Uneven cooling results from traditional cooling systems' inability to handle peak demand periods. These storage units' infrastructure can have PCMs, which can release or absorb heat to maintain temperatures (Fan and Khodadadi, 2011). This not only guarantees a constant temperature but also saves energy, improving the effectiveness and environmental friendliness of the overall system.

**Vending Machines:** In hotter climates particularly throughout the summer, vending machines may have problems keeping products at temperatures that are safe for consumption. These machines can maintain appropriate temperatures for prolonged periods without routine cooling because of the incorporation of PCMs, which results in energy savings and maintains the safety of the finished product.

**Dairy Processing:** Temperature is the most important factor in numerous phases of the processing of dairy products. Consistent temperatures are essential for the safety and quality of products during operations like pasteurization and fermentation. PCMs can help to keep these temperatures stable, ensuring the production of dairy products of the highest standard.

**Air conditioning:**

Thermal energy storage (TES) is one of the principal uses of PCMs in air conditioning. By including PCMs in the system, extra cool energy generated off-peak (during the night, for example) can be stored and used later, lessening the burden on the air conditioner. Walls, ceilings, and floor panels are examples of architectural materials that can include PCMs. The PCMs absorb the heat when the structure warms, melting as a result. As they solidify at lower temperatures, they release the heat that has been trapped there, lowering the requirement for ongoing cooling and enhancing indoor comfort (Pasupathy *et al*., 2008). PCMs can provide prolonged cooling periods in portable or small-scale air conditioning equipment without the need for constant energy use. This is especially useful in situations when there may not be a reliable power source.

**10.0 Conclusion**

In the food industry, phase change materials (PCMs) have become a promising solution for a variety of temperature regulation problems. They are especially useful for thermal management and energy storage because they can collect and release large amounts of energy during phase transitions with little change in their temperature. The properties of various PCM types, including inorganic, organic, and eutectic or bio-based PCMs, can be tuned to particular purposes. These uses demonstrate the adaptability and promise of these materials and cover every aspect of the food supply chain, from temperature-controlled packaging and food processing to cold chain logistics and refrigeration systems. Although the basics of PCMs are widely established, the field of their actual application in the food business is still in its infancy. It is important to carefully analyze aspects including cost-effectiveness, environmental impact, stability through numerous heat cycles, and containment or encapsulation solutions. To fully realize their potential and overcome current obstacles, additional research and development are required. Despite these difficulties, PCMs have enormous potential for boosting energy efficiency, ensuring food safety, and raising the quality of food items.

**11.0 References:**

Akeiber, H., Nejat, P., Majid, M. Z. A., Wahid, M. A., Jomehzadeh, F., Famileh, I. Z., ... & Zaki, S. A. (2016). A review on phase change material (PCM) for sustainable passive cooling in building envelopes. *Renewable and Sustainable Energy Reviews*, *60*, 1470-1497.

Azzouz, K., Leducq, D., & Gobin, D. (2009). Enhancing the performance of household refrigerators with latent heat storage: an experimental investigation. international Journal of Refrigeration, 32(7), 1634-1644.

Behi, H., Ghanbarpour, M., & Behi, M. (2017). Investigation of PCM-assisted heat pipe for electronic cooling. *Applied Thermal Engineering*, *127*, 1132-1142.

Castell, A., Martorell, I., Medrano, M., Pérez, G., & Cabeza, L. F. (2010). Experimental study of using PCM in brick constructive solutions for passive cooling. *Energy and buildings*, *42*(4), 534-540.

Chen, F., Huang, R., Wang, C., Yu, X., Liu, H., Wu, Q., ... & Bhagat, R. (2020). Air and PCM cooling for battery thermal management considering battery cycle life. *Applied Thermal Engineering*, *173*, 115154.

Cheng, W. L., Mei, B. J., Liu, Y. N., Huang, Y. H., & Yuan, X. D. (2011). A novel household refrigerator with shape-stabilized PCM (Phase Change Material) heat storage condensers: An experimental investigation. Energy, 36(10), 5797-5804.

Davies, T. W. (2005). Slurry ice is a heat transfer fluid with a large number of application domains. International Journal of Refrigeration, 28(1), 108-114.

Fan, L., & Khodadadi, J. M. (2011). Thermal conductivity enhancement of phase change materials for thermal energy storage: a review. *Renewable and sustainable energy reviews*, *15*(1), 24-46.

Feng, P. H., Zhao, B. C., & Wang, R. Z. (2020). Thermophysical heat storage for cooling, heating, and power generation: A review. *Applied Thermal Engineering*, *166*, 114728.

Gawron K., Schöder J., “Properties of some salt hydrates for latent heat storage”, Energy Research, 1977, Vol.1. 351-363

Ge, H., Li, H., Mei, S., & Liu, J. (2013). Low melting point liquid metal as a new class of phase change material: An emerging frontier in the energy area. *Renewable and Sustainable Energy Reviews*, *21*, 331-346.

Gin, B., & Farid, M. M. (2010). The use of PCM panels to improve the storage condition of frozen food. Journal of Food Engineering, 100(2), 372-376.

Granryd, E., & Melinder, Å. (2005). Secondary refrigerants for indirect systems. Refrigerating Engineering, Granryd, KTH, Stockholm, 6, 2-6.

Heine, D., & Abhat, A. (1978). Investigation of physical and chemical properties of phase change materials for space heating/cooling applications. In SUN: Mankind's Future Source of Energy (pp. 500-506). Pergamon.

Hua, W., Zhang, L., & Zhang, X. (2021). Research on passive cooling of electronic chips based on PCM: A review. *Journal of Molecular Liquids*, *340*, 117183.

Hussain, S. I., Dinesh, R., Roseline, A. A., Dhivya, S., & Kalaiselvam, S. (2017). Enhanced thermal performance and study the influence of sub-cooling on activated carbon dispersed eutectic PCM for cold storage applications. *Energy and Buildings*, *143*, 17-24.

Jaglan, N., Sharma, A., Sain, M., & Singh, L. (2018).Solar technologies and thermic materials for value addition to perishable commodities: future research & development. *Green Farming*, *9*(3), 534-540.

Khan, M. I. H., & Afroz, H. M. (2013). Effect of phase change material on the performance of a household refrigerator. Asian Journal of Applied Sciences, 6(2), 56-67.

KHAN, M. I. H., & AFROZ, H. M. (2013). Experimental investigation of performance improvement of the household refrigerator using phase change material. International Journal of Air-Conditioning and Refrigeration, 21(04), 1350029.

Krishna, J., Kishore, P. S., & Solomon, A. B. (2017). Heat pipe with nano-enhanced PCM for electronic cooling application. *Experimental Thermal and Fluid Science*, *81*, 84-92.

Lane, G. A. (1983). Solar heat storage: latent heat materials.

Li, G., Hwang, Y., Radermacher, R., & Chun, H. H. (2013). Review of cold storage materials for subzero applications. Energy, 51, 1-17.

Marques, A. C., Davies, G. F., Maidment, G. G., Evans, J. A., & Wood, I. D. (2014). Novel design and performance enhancement of domestic refrigerators with thermal storage. Applied Thermal Engineering, 63(2), 511-519.

Mehling H, Cabeza LF. Heat and cold storage with PCM. New York: Springer; 2008.

Nazir, H., Batool, M., Osorio, F. J. B., Isaza-Ruiz, M., Xu, X., Vignarooban, K., ... & Kannan, A. M. (2019). Recent developments in phase change materials for energy storage applications: A review. *International Journal of Heat and Mass Transfer*, *129*, 491-523.

Onyejekwe, D. C. (1989). Cold storage using a eutectic mixture of NaCl/H2O: an application to photovoltaic compressor vapor freezers. Solar & wind technology, 6(1), 11-18.

Oró, E., De Gracia, A., Castell, A., Farid, M. M., & Cabeza, L. F. (2012). Review on phase change materials (PCMs) for cold thermal energy storage applications. *Applied Energy*, *99*, 513-533.

Osterman, E., Tyagi, V. V., Butala, V., Rahim, N. A., & Stritih, U. (2012). Review of PCM-based cooling technologies for buildings. *Energy and Buildings*, *49*, 37-49.

Pasupathy, A., Velraj, R., & Seeniraj, R. V. (2008). Phase change material-based building architecture for thermal management in residential and commercial establishments. *Renewable and Sustainable Energy Reviews*, *12*(1), 39-64.

Pichandi, R., Murugavel Kulandaivelu, K., Alagar, K., Dhevaguru, H. K., & Ganesamoorthy, S. (2020). Performance enhancement of photovoltaic module by integrating eutectic inorganic phase change material. *Energy Sources, Part A: Recovery, Utilization, and Environmental Effects*, 1-18.

Rahman, R., Hossain, M. A., Das, S. K., & Hasan, A. (2014). Performance improvement of a domestic refrigerator by using PCM (phase change material). Global Journal of Research In Engineering.

Sain, M. (2019). Study On Development of Solar Energy Based Thermal Reservoir for Milk Processing (M. Tech thesis, Guru Angad Dev Veterinary and Animal Sciences University, Ludhiana).

Sain, M., Sharma, A., Talwar, G., & Goel, N. (2019a). Thermic Fluid Based Solar Thermal Energy Storage System for Milk Processing. *Int. J. Curr. Microbiol. App. Sci*, *8*(10), 1962-1973.

Sain, M., Sharma, A., Talwar, G., & Kumar, N. (2019b). Study on behaviour of thermal energy storage materials under conventional and solar heating systems. *International Journal of Chemical Studies*, *7*(5), 732-738.

Sharma, A., Gupta, S., & Kaur, K. (2014). Comparative study on phase changing material for refrigeration effect for milk chilling. Agricultural Engineering International: CIGR Journal, 16(3), 189-193.

Sharma, A., Tyagi, V. V., Chen, C. R., & Buddhi, D. (2009). Review on thermal energy storage with phase change materials and applications. Renewable and Sustainable energy reviews, 13(2), 318-345.

Singh, S., Gaikwad, K. K., & Lee, Y. S. (2018). Phase change materials for advanced cooling packaging. *Environmental Chemistry Letters*, *16*, 845-859.

Visek, M., Joppolo, C. M., Molinaroli, L., & Olivani, A. (2014). Advanced sequential dual evaporator domestic refrigerator/freezer: System energy optimization. International journal of refrigeration, 43, 71-79.

Wang, F., Maidment, G., Missenden, J., & Tozer, R. (2002). A review of research concerning the use of PCMs in air conditioning and refrigeration engineering. In Advances in building technology (pp. 1273-1280). Elsevier.

Wang, F., Maidment, G., Missenden, J., & Tozer, R. (2007). The novel use of phase change materials in refrigeration plants. Part 3: PCM for control and energy savings. Applied Thermal Engineering, 27(17-18), 2911-2918.

Waqas, A., & Din, Z. U. (2013). Phase change material (PCM) storage for free cooling of buildings—A review. *Renewable and sustainable energy reviews*, *18*, 607-625.

Xu, B., Li, P., & Chan, C. (2015). Application of phase change materials for thermal energy storage in concentrated solar thermal power plants: a review to recent developments. *Applied Energy*, *160*, 286-307.

Yilmaz, S., Sheth, F., Martorell, I., Paksoy, H. O., & Cabeza, L. F. (2010). Salt-water solutions as PCM for cooling applications. In Proceedings of EuroSun.

Zhang, P., Ma, Z. W., Bai, Z. Y., & Ye, J. (2016). Rheological and energy transport characteristics of a phase change material slurry. *Energy*, *106*, 63-72.